### Set the parameters of the current measurement
The parameters of the measurements in the impulse – response module are set in an additional setup window.
There are different ways to open this setup window:
- In the simple menu layout the setup is located in the popup menu of the start measurement button in the bottom menu bar. The setup is located in the sub menu Setup.
- In the complex menu layout you find a dedicated bottom for the setup right to the start measurement bottom in the top menu bar. The button's icon varies depending on the currently selected measurement. There is no setup button if the oscilloscope type measurement is selected.
- Use the button F9 to invoke the setup window of the current measurement.
- When you edit user macros, then the button Edit in the area Impulse Response invokes the setup.
- The menu Setup at the top contains the setup for the current measurement.
Hint:
A closer description of the measurements can be found starting at page in this document.