Create a Project Timeline with Milestones in this worksheet. Enter details in Project Details table. Chart is in cell B2 and Tip is in cell H17
Title of this worksheet is in this cell. Line chart showing each milestone on the corresponding timeframe is in cell below
Enter project details in table below
Enter Date in this column under this heading
Enter Milestone in this column under this heading
Enter Assigned To name in this column under this heading
Enter chart Position in this column under this heading. Project Timeline Tip is in cell at right
Project Timeline Tip is in cell below
## CITY
TENDER SUMMARY: P-EE 01-2023					FUNCTIONALITY MET

GENERAL NOTES
Employer	City of Ekurhuleni - Energy Department
Tender Type (Panel/Project)	Project Type
Tender Number	P-EE 01-2023
Tender Description	REQUEST FOR PROPOSALS FOR CITY OF EKURHULENI INNOVATIVE, BASELOAD AND DISPATCHABLE ENERGY GENERATION PROGRAM THROUGH APPOINTMENT OF INDEPENDENT POWER PRODUCERS FOR A PERIOD OF 20 YEARS
Closing (Date & Time)	Wednesday 2 August 2023	10:00
Submission Venue	Bid Box Number FOUR (04), Ground Floor, Golden Heights, 141 Victoria Street, (Corner Victoria and F H Odendaal Streets) Germiston 1400
Validity Period	120 Days
Briefing Session (Date & Time)	Wednesday 12 July 2023	10:00
Briefing Venue	BOKSBURG CUSTOMER CARE CENTRE, 1st FLOOR, COUNCIL CHAMBER, CORNER COMMISSIONER AND TRICHARDT STREET, BOKSBURG NORTH
Attendee (Comment)
Tendering Entity
Location of Tender	GP
CIDB Grading

Employer Details	Name & Surname	M/F	Email			Phone
Supply Chain Management	Winnie Majola		winnie.majola@ekurhuleni.gov.za
Technical	April Dlamini		april.dlamini@ekurhuleni.gov.za

Envelope Details (addressed to)	Note 1
	Note 2
	Note 3

PRE-QUALIFYING CRITERIA/MADATORY REQUIREMENTS
No	Description							Qualify (yes/no)
1	Only the first number of proposals to successfully reach the combined maximum capacity of 1000MW will be considered.
2	Proposals are limited to a minimum of 50MW per bidder
3

Addenda Issued	Date	Noted Change
Addendum 1
Addendum 2
Addendum 3

EVALUATION CRITERIA/ Functionality
"90/10"	STAFFING	COMPANY EXPERIENCE	OTHER	Total	Mimumum Required	Comments/ Ref to doc
						Page Number	Comments
Points Allocation	0	10	90	100	65
Points Expected	0	0	0	100		FUNCTIONALITY MET

STAFFING	Staff 1	Staff 2	Staff 3	Staff 4	Staff 5	Staff 6	Staff 7	Staff 8

Position
Qualification Required
Experience Required
Points Allocated
Points Expected

Notes Staffing

COMPANY EXPERIENCE	Project 1	Project 2	Project 3	Project 4	Project 5	Project 6	Project 7	Project 8

Project Value (Excl. VAT)	One or more utility scale power plants. Constructed and/or managed
Points Allocated	10
Points Expected
Ref. Letter available

Notes Company Experience

OTHER	Required	Points Allocated	Points Expected	Comments
Technical Submission	Yes	30
Financial Submission	Yes	20
Additional Project Readiness Details	Yes	20
Socio Economic Development	Yes	20

Other 2 (Specify in comments)

CONTINUE ONLY IF WE MEET FUNTIONALITY

RETURNABLES	Required	Responsible	Checked	Comments/ Ref to doc			Included
	Yes/No	LDB/JM	JM	Page number	Details		Yes/No
CIPC
CIDB Grading
B-BBEE	Yes
Tax Clearance
Company Municipal Account/Lease Agreements of Company	Yes
Central Supplier Database(CSD)	Yes
Authority of Signatory
Record of Addenda
COIDA
UIF
OHS
Letter of Intent (Insurance)
Audited Annual Financial Statement	Yes				Last 3 Years' AFS
Bank Details	Yes
Professional Indemnity Insurance
Director's/Shareholders ID's
Director's Municipal Accounts	Yes
Other (Specific to Tender)
Professional Registrations of all Professionals
Company Profile
VAT Certificate	Yes
Performance Management system

PRICING
Pricing Required	Yes
Person Responsible
Due Date
Pricing Type
Bill Available in Excel	No
Cash Flow	Yes
Preliminary Schedule	No
Local Content
Are Drawings referred to in BoQ's	No
Are Drawings Available	No
Suppliers (Based on Scope)	1	2	3	4	5	6	7	8
Suppliers Targeted	Not Applicable	Not Applicable	Not Applicable	Not Applicable	Not Applicable	Not Applicable	Not Applicable	Not Applicable
Date for Quote to be sent

NOTES NOT ACCOUNTED FOR ABOVE

Note by					Issue Resolved		Person Responsible
Note Date					Solution
Ref to doc

Note by					Issue Resolved		Person Responsible
Note Date					Solution
Ref to doc

Note by					Issue Resolved		Person Responsible
Note Date					Solution
Ref to doc

Note by					Issue Resolved		Person Responsible
Note Date					Solution
Ref to doc

Note by					Issue Resolved		Person Responsible
Note Date					Solution
Ref to doc

Note by					Issue Resolved		Person Responsible
Note Date					Solution
Ref to doc

Note by					Issue Resolved		Person Responsible
Note Date					Solution
Ref to doc

Note by					Issue Resolved		Person Responsible
Note Date					Solution
Ref to doc

Note by					Issue Resolved		Person Responsible
Note Date					Solution
Ref to doc

END

## FUNCTIONALITY
Technical Proposal:	Financial Proposal:	Additional Project Readiness Details:	Socio Economic Development:	Previous Relevant Experience:
1. Size of the plant/s in MW	The financial submission clearly provides preliminary details of how the project/s will be funded or financed. Provide details of potential project funder/s or investors and there are letter/s of intent to fund from potential funders if available or any formal on-going engagements with funders.	1. Period to COD after notice to proceed granted/PPA signed (calendar days)	1. Project Name	One or more utility scale power plants. Constructed and/or managed
2. Technology or type of plant (i.e. Solar PV, Waste, Gas etc.)		2. Status of Generation Fuel supply agreements, if applicable:	2. Contracted Capacity in MW
3. A detailed description of how the technology works		3. Status of Environmental Authorization, if applicable	3. Estimated private sector investment injection to the local economy
4. Project Name		4. Copy of evidence of land ownership/lease agreement or current status, i.e main land parcel required for the generation plant/s	4. Estimated number of job opportunities created during construction
5. Generation Plant Location, with corresponding GIS coordinates		5. Status of permits and authorizations - details of both those granted and outstanding with associated estimated timeframes provided: e.g. wayleaves, servitudes, grid code compliance, rezoning, water use licenses, etc	5. Estimated number of job opportunities created during operation of the plant
6. Plant peak power rating [MW]		6. Status of required agreements, including grid access agreements with the applicable municipality and/or Eskom
7. Maximum Export Capacity (as defined in the Distribution Agreement or the Transmission Agreement, as the case may be: [MW]
8. Planned voltage connection level
9. Planned connection point (i.e. the name of the substation or distribution line into which the Project is intended to connect, as well as supply area)
10. Indicate the time frame from construction to commission and give CoE an estimate as to when will the plant be ready for generation.
11. Site development plan (drawn to scale)
12. Project timeline from start to finish including all authorizations, approvals, permits, studies etc.

## CHECKLIST
Required Retunables	LOW	MEDIUM	HIGH
Company Registration Document
Tax Clearance Certificate and PIN
CSD Registration
B-BBEE Certificate
Municipal Statement of Company
Municipal Statement of Directors
Authority of Signatory (To be sign by all directors)
Audited Annual Financial Statement (3 Years)
VAT certificate
Bank Confirmation Letter
Letter of Surety from Bank (Page 48)
Cover Letter
Initial and Signing of Bid Document

Pages to be completed in bid document:
Qualifications and years of experience of Directors (Page 30)
Physical Facilities and Owned Plant and Equipment (Page 34)
List of Current Obligations (Pgae 36)
Equity Ownership Info (Page 38)
Staffing Info (Page 40-42)
Previous Company Experience (Page 47)
Cash Flow (Page 48)
OHSA Requirements - Page 49 (Only after award?)
Schedule of Prices (Pages 79-80)

Functionality Requirements:
Technical Proposal:
Financial Proposal:
Additional Project Readiness Details:
Socio Economic Development:
Previous Relevant Experience:

## Tender Briefing
BRIEFING NOTES

Date of Briefing	#NAME?
Time	10:00
Location	MS TEAMS
Document Available	Yes
Contract Number	27313618735
Description	For the provision leak detection and data logging for the water reticulation in Port of Durban for a period of 36 months
Attendance (Estimate)
Attendee
Closing Date	45140
Contact Persons	HLENGIWE SITHOLE

NOTES:
Section (Ref to Tender)	pg.	Description

QUESTIONS AND ANSWERS

Question 1
Answer 1

Question 2
Answer 2

Question 3
Answer 3

Question 4
Answer 4

Question 5
Answer 5

Question 6
Answer 6

## Tender Timeline
TIME LINE: P-EE 01-2023

Tender Deadlines
Date	Milestone	Assigned To	Position	Baseline
10/07/2021	DTA Approved	MR	20	0
14/07/2021	Tender Received	LdB	5	0
20/07/2021	Tender reviewed	Team	5	0
20/07/2021	Issues Discussed	Team	25	0
25/07/2023	Current Standing	Team	-15	0
28/07/2021	Returnables (all)	LdB	15	0
28/07/2021	Returnables (Checked)	JM	5	0
27/07/2021	Pricing Completed	JM	-20	0
27/07/2021	Pricing Reviewed	MR	20	0
28/07/2021	Tender Completed	Team	-15	0
30/07/2021	Tender Due + Delivery	JM	10	0
				0