## flt_Generator Meter_20230909010500
Error	UTC Offset (minutes)	Local Time Stamp	Frequency (Hz)	Current A (A)	Current B (A)	Current C (A)	Current N (A)	Voltage A-B (V)	Voltage B-C (V)	Voltage C-A (V)	Voltage L-L Avg (V)	Voltage A-N (V)	Voltage B-N (V)	Voltage C-N (V)	Power factor ()	Active power A (W)	Active power B (W)	Active power C (W)	Active power (W)	Reactive power A (VAr)	Reactive power B (VAr)	Reactive power C (VAr)	Reactive power (VAr)	Apparent power A (VA)	Apparent power B (VA)	Apparent power C (VA)	Apparent power (VA)	Active energy delivered (Wh)	Reactive energy delivered (VArh)	Active energy received (Wh)	Reactive energy received (VArh)	Apparent energy delivered (VAh)
0	720	09-09-2023 00:00:00	49.6691207885742	0	0	0	0	413.448608398438	417.312561035156	411.904174804688	414.221771240234	237.176818847656	241.163909912109	239.196823120117	-1	0	0	0	0
0	720	09-09-2023 00:15:00	50.3775177001953	515.957092285156	481.160125732422	490.173675537109	0	414.834533691406	417.290863037109	414.320007324219	415.481811523438	239.152633666992	240.10546875	240.401840209961	0.999868154525757	123286.296875	115241.9609375	117757.1171875	356285.375
0	720	09-09-2023 00:30:00	50.3577079772949	513.804565429688	481.536529541016	487.485748291016	0	414.6279296875	416.986022949219	413.815246582031	415.14306640625	238.83203125	240.052993774414	240.190383911133	0.999862551689148	122609.4140625	115240.0078125	117007.7421875	354857.15625
0	720	09-09-2023 00:45:00	50.3751525878906	522.948486328125	487.468017578125	475.96435546875	0	413.936492919922	416.172027587891	414.033630371094	414.714050292969	238.613159179688	239.539077758789	240.176834106445	0.999902904033661	124528.328125	116420.8125	114233.0625	355182.21875
0	720	09-09-2023 01:00:00	50.372486114502	523.121276855469	481.203216552734	476.974151611328	0	413.953735351563	416.905975341797	414.170288085938	415.010009765625	238.514099121094	239.81510925293	240.508514404297	0.999854803085327	124677.015625	115063.7734375	114640.9609375	354381.75	0	0	0	0	0	0	0	0	5774922752	207060432	78991	53755960	5786390016
0	720	09-09-2023 01:30:00	49.6774406433106	0	0	0	0	414.585693359375	414.619049072266	412.664611816406	413.956451416016	238.861114501953	239.989608764648	238.243667602539	-1	0	0	0	0	0	0	0	0	5774922752	207060432	78991	53755960	5786390016
0	720	09-09-2023 01:45:00	49.6737823486328	0	0	0	0	414.361846923828	414.772338867188	412.696502685547	413.943572998047	238.48112487793	240.162338256836	238.407257080078	-1	0	0	0	0	0	0	0	0	5774922752	207060432	78991	53755960	5786390016
0	720	09-09-2023 02:00:00	50.4371452331543	544.635375976563	509.667022705078	540.089294433594	0	415.070068359375	416.299468994141	414.265960693359	415.211822509766	239.157165527344	240.202590942383	239.813690185547	0.999958753585815	130073.03125	122128.0625	129403.8828125	381604.96875	1521.39465332031	-4681.19287109375	-303.812927246094	-3463.61108398438	130253.4609375	122423.34375	129520.8125	381620.6875	5774988288	207060448	78991	53756632	5786456064
0	720	09-09-2023 02:15:00	50.4382743835449	542.013366699219	507.025238037109	538.467712402344	0	415.244842529297	416.171356201172	414.57666015625	415.330932617188	239.407318115234	240.179672241211	239.791717529297	0.999888420104981	129562.2578125	121561.265625	129015.53125	380139.0625	-1589.52233886719	-4229.63232421875	141.327239990234	-5677.8271484375	129761.9609375	121777.15625	129120.1171875	380181.46875	5775084032	207060448	78991	53757568	5786551296
0	720	09-09-2023 02:30:00	50.4436187744141	552.744079589844	511.217926025391	529.203308105469	0	414.812438964844	416.134826660156	414.596527099609	415.181274414063	239.166687011719	240.006759643555	239.946044921875	0.999926686286926	132012.15625	122403.84375	126868.1171875	381284.15625	319.929321289063	-4333.4189453125	-603.194702148438	-4616.6845703125	132197.984375	122695.7578125	126980.25	381312.0625	5775178752	207060448	78991	53758616	5786647040
0	720	09-09-2023 02:45:00	50.4411964416504	550.793029785156	506.774627685547	536.452026367188	0	415.090484619141	416.347076416016	414.545715332031	415.327758789063	239.239959716797	240.225784301758	239.907913208008	0.999925315380096	131540.46875	121427.5625	128572.6015625	381540.625	0	-4790.35595703125	127.449501037598	-4662.90625	131771.71875	121740.328125	128699.09375	381569.125	5775274496	207060448	78991	53759604	5786742272
0	720	09-09-2023 03:00:00	50.4499702453613	550.527587890625	509.908477783203	531.530883789063	0	415.136810302734	416.534393310547	414.795318603516	415.488861083984	239.300308227539	240.233413696289	240.118576049805	0.999939501285553	131572.5	122215.609375	127486.296875	381274.40625	1086.03564453125	-4296.84716796875	-982.806396484375	-4193.6181640625	131741.40625	122497.0546875	127630.4375	381297.46875	5775370240	207060448	78991	53760580	5786837504
0	720	09-09-2023 03:15:00	50.4302978515625	541.049621582031	534.690856933594	528.810546875	0	415.387176513672	415.926055908203	414.890167236328	415.401123046875	239.570251464844	239.964492797852	239.964736938477	0.999984085559845	129454.8203125	128066.1328125	126782.0625	384303	1197.68359375	-3055.75805664063	-308.699371337891	-2166.77392578125	129619.3984375	128306.8203125	126895.8828125	384309.125	5775467520	207060448	78991	53761528	5786935296
0	720	09-09-2023 03:30:00	50.4497337341309	552.022888183594	509.443054199219	532.139282226563	0	415.287933349609	416.498138427734	415.048706054688	415.611602783203	239.485000610352	240.250778198242	240.129547119141	-1	131958.046875	122171.6640625	127661.171875	381790.875	779.075805664063	-2319.50756835938	1351.20300292969	-189.228927612305	132201.203125	122394.0859375	127782.359375	381790.9375	5775560704	207060448	78991	53762492	5787028480
0	720	09-09-2023 03:45:00	50.4523735046387	545.156982421875	510.890258789063	535.797180175781	0	415.200958251953	416.11083984375	414.659454345703	415.32373046875	239.409225463867	240.131439208984	239.826629638672	0.999977111816406	130317.5234375	122424.109375	128396.1484375	381137.78125	-567.895080566406	-3301.55444335938	1290.716796875	-2578.73266601563	130515.625	122680.8125	128498.4296875	381146.5	5775655936	207060448	78991	53763408	5787124224
0	720	09-09-2023 04:00:00	50.4455451965332	553.75390625	504.636535644531	532.333068847656	0	415.154113769531	416.386291503906	414.751312255859	415.430572509766	239.304428100586	240.267349243164	239.980438232422	0.999968707561493	132330.0625	120961.4609375	127633.7109375	380925.21875	0	-4442.18505859375	1430.72216796875	-3011.46264648438	132515.765625	121247.6875	127749.5234375	380937.125	5775751680	207060448	78991	53764356	5787219456
0	720	09-09-2023 04:15:00	50.4402313232422	560.458251953125	504.922912597656	527.943725585938	0	414.756378173828	416.302368164063	414.564208984375	415.207641601563	239.046859741211	240.121078491211	239.997146606445	-1	133752.734375	121002.3515625	126605.1796875	381360.21875	2336.54760742188	-3855.4326171875	1527.00134277344	8.11647605895996	133975.78125	121242.6328125	126705	381360.25	5775846912	207060448	78991	53765248	5787314688
0	720	09-09-2023 04:30:00	49.6846084594727	0	0	0	0	413.956329345703	415.429748535156	412.185943603516	413.857330322266	237.868881225586	240.273742675781	238.760604858398	-1	0	0	0	0	0	0	0	0	5775921664	207060480	78991	53765992	5787389440
0	720	09-09-2023 04:45:00	49.6558265686035	0	0	0	0	414.249328613281	415.506225585938	412.634307861328	414.129943847656	238.071304321289	240.902313232422	238.382858276367	-1	0	0	0	0	0	0	0	0	5775921664	207060480	78991	53765992	5787389440
0	720	09-09-2023 05:00:00	49.6593551635742	0	0	0	0	412.296905517578	416.769195556641	413.192199707031	414.086090087891	236.808410644531	240.748977661133	239.735733032227	-1	0	0	0	0	0	0	0	0	5775921664	207060480	78991	53765992	5787389440
0	720	09-09-2023 05:15:00	49.6842079162598	0	0	0	0	412.834075927734	416.811126708984	412.531646728516	414.058959960938	236.771728515625	241.380813598633	239.098281860352	-1	0	0	0	0	0	0	0	0	5775921664	207060480	78991	53765992	5787389440
0	720	09-09-2023 05:30:00	49.6739387512207	0	0	0	0	413.6845703125	415.922088623047	412.28271484375	413.963134765625	237.721755981445	241.072677612305	238.308364868164	-1	0	0	0	0	0	0	0	0	5775921664	207060480	78991	53765992	5787389440
0	720	09-09-2023 05:45:00	49.6682014465332	0	0	0	0	414.091827392578	415.542846679688	411.998748779297	413.877807617188	238.077392578125	241.219787597656	237.643218994141	-1	0	0	0	0	0	0	0	0	5775921664	207060480	78991	53765992	5787389440
0	720	09-09-2023 06:00:00	49.6597175598145	0	0	0	0	412.176513671875	416.669677734375	413.791351318359	414.212524414063	237.295379638672	240.546463012695	239.697509765625	-1	0	0	0	0	0	0	0	0	5775921664	207060480	78991	53765992	5787389440
0	720	09-09-2023 06:15:00	50.3819465637207	579.5029296875	498.969879150391	514.563537597656	0	413.812347412109	416.231872558594	414.808471679688	414.950897216797	238.718811035156	239.727737426758	240.274688720703	0.999981880187988	138064.015625	119350.453125	123493.9140625	380908.375	1748.73583984375	-2803.14477539063	-1235.23901367188	-2289.64794921875	138338.234375	119616.9296875	123636.5859375	380915.25	5775946752	207060512	78991	53766340	5787414528
0	720	09-09-2023 06:30:00	50.3879318237305	575.099975585938	494.564910888672	532.125061035156	0	413.726104736328	415.598663330078	413.539703369141	414.288146972656	238.325393676758	239.780014038086	239.467086791992	0.999937653541565	136860.515625	118230.6484375	127304.4609375	382395.65625	942.490234375	-6903.27099609375	1690.78344726563	-4269.99755859375	137060.921875	118586.7734375	127426.4375	382419.46875	5776041984	207060528	78991	53767156	5787509760
0	720	09-09-2023 06:45:00	50.408088684082	570.532348632813	509.274536132813	526.53173828125	0	414.250183105469	415.7958984375	414.722137451172	414.922729492188	239.02783203125	239.727264404297	239.918243408203	0.999965190887451	136141.265625	121776.3203125	126170.8359375	384088.40625	-1418.81701660156	-2713.55346679688	927.479675292969	-3204.890625	136373.109375	122086.9921875	126324.5859375	384101.8125	5776137728	207060528	78991	53767936	5787605504
0	720	09-09-2023 07:00:00	50.4025650024414	578.311096191406	492.465576171875	528.65283203125	0	413.944427490234	416.105133056641	414.466552734375	414.838714599609	238.726486206055	239.863143920898	239.937759399414	0.99999725818634	137807.890625	117852.3203125	126667.0859375	382327.3125	-97.6696395874023	-2596.23901367188	1795.43591308594	-898.472778320313	138058.171875	118124.3515625	126843.7734375	382328.34375	5776232960	207060528	78991	53768676	5787701248
0	720	09-09-2023 07:15:00	50.4205665588379	571.422058105469	483.346649169922	535.237670898438	0	413.927398681641	416.091979980469	413.903625488281	414.640991210938	238.521789550781	239.982147216797	239.679626464844	0.999965369701386	136063.796875	115664.9453125	128112.3359375	379841.09375	0	-4824.6640625	1663.14709472656	-3161.5166015625	136296.59375	115994.578125	128285.5703125	379854.21875	5776328704	207060528	78991	53769444	5787795968
0	720	09-09-2023 07:30:00	50.3371353149414	576.987487792969	507.726470947266	510.913848876953	0	413.695770263672	415.807037353516	414.592834472656	414.698547363281	238.641021728516	239.542129516602	240.099151611328	0.999996364116669	137466.25	121347.53125	122488.1953125	381301.96875	2343.10498046875	-2923.6484375	-436.993438720703	-1017.53698730469	137692.890625	121621.8828125	122669.96875	381303.34375	5776423424	207060528	78991	53770184	5787891712
0	720	09-09-2023 07:45:00	50.5857810974121	584.785095214844	483.041442871094	503.018280029297	0	415.441711425781	418.249298095703	416.818756103516	416.836578369141	239.665802001953	240.843048095703	241.477294921875	0.999971091747284	139858.078125	116009.7578125	121198.5859375	377066.40625	1077.71240234375	-3314.66162109375	-631.337646484375	-2868.28686523438	140152.984375	116337.1640625	121467.5	377077.34375	5776519168	207060560	78991	53771008	5787986944
0	720	09-09-2023 08:00:00	50.5785446166992	595.506042480469	494.141723632813	513.804626464844	0	415.540863037109	417.897399902344	416.437530517578	416.625274658203	239.575286865234	240.887344360352	241.157577514648	0.999992072582245	142357.03125	118653.9609375	123641.609375	384652.625	1149.06237792969	-5243.2353515625	2561.91137695313	-1532.26196289063	142668.53125	119032.4765625	123907.875	384655.65625	5776614400	207060560	78991	53771588	5788082176
0	720	09-09-2023 08:15:00	50.5044555664063	601.160034179688	481.899078369141	502.813446044922	0	414.823181152344	418.027008056641	416.358184814453	416.402770996094	239.200088500977	240.681365966797	241.353103637695	0.999999046325684	143439.015625	115610.421875	121083.828125	380133.25	3221.57861328125	-4052.96899414063	327.257202148438	-504.133270263672	143797.546875	115984.1171875	121355.5859375	380133.59375	5776710144	207060560	78991	53772172	5788177408
0	720	09-09-2023 08:30:00	50.6087875366211	596.8583984375	476.654113769531	499.500518798828	0	414.975494384766	418.709625244141	416.697631835938	416.794250488281	239.266967773438	240.872497558594	241.773513793945	0.999963462352753	142421.984375	114470.2421875	120385.78125	377278	4432.08447265625	-4147.43212890625	-3509.57885742188	-3224.92651367188	142808.5	114812.8671875	120766	377291.8125	5776804864	207060560	78991	53772772	5788273152
0	720	09-09-2023 08:45:00	49.7442054748535	0	0	0	0	413.901824951172	417.233459472656	411.801910400391	414.312408447266	237.098999023438	242.285415649414	238.324523925781	-1	0	0	0	0	0	0	0	0	5776873472	207060640	78991	53773376	5788341248
0	720	09-09-2023 09:00:00	49.8433799743652	0	0	0	0	411.297912597656	420.823486328125	412.731750488281	414.951049804688	234.776458740234	243.02409362793	241.003433227539	-1	0	0	0	0	0	0	0	0	5776873472	207060640	78991	53773376	5788341248
0	720	09-09-2023 09:15:00	49.9239654541016	0	0	0	0	413.285797119141	417.946258544922	413.617401123047	414.949829101563	237.384155273438	241.672256469727	239.756134033203	-1	0	0	0	0	0	0	0	0	5776873472	207060640	78991	53773376	5788341248
0	720	09-09-2023 09:30:00	49.8539390563965	0	0	0	0	410.365295410156	421.001220703125	412.395416259766	414.587310791016	234.460144042969	242.9814453125	240.738906860352	-1	0	0	0	0	0	0	0	0	5776873472	207060640	78991	53773376	5788341248
0	720	09-09-2023 09:45:00	49.9783401489258	0	0	0	0	410.590240478516	419.300994873047	414.434051513672	414.775115966797	236.081726074219	241.182174682617	241.253387451172	-1	0	0	0	0	0	0	0	0	5776873472	207060640	78991	53773376	5788341248
0	720	09-09-2023 10:00:00	50.0965919494629	0	0	0	0	409.121856689453	422.677185058594	414.655609130859	415.48486328125	234.892623901367	242.017333984375	242.840560913086	-1	0	0	0	0	0	0	0	0	5776873472	207060656	78991	53773376	5788341248
0	720	09-09-2023 10:15:00	50.0321655273438	0	0	0	0	411.835632324219	422.022186279297	411.282928466797	415.046905517578	235.084884643555	243.658706665039	240.24137878418	-1	0	0	0	0	0	0	0	0	5776873472	207060656	78991	53773376	5788341248
0	720	09-09-2023 10:30:00	49.980110168457	0	0	0	0	411.384490966797	419.571624755859	413.316589355469	414.757568359375	235.741088867188	241.722625732422	241.025238037109	-1	0	0	0	0	0	0	0	0	5776873472	207060656	78991	53773376	5788341248
0	720	09-09-2023 10:45:00	50.1195068359375	0	0	0	0	414.119262695313	419.992553710938	414.057525634766	416.056457519531	236.659851074219	242.831466674805	241.252899169922	-1	0	0	0	0	0	0	0	0	5776873472	207060656	78991	53773376	5788341248
0	720	09-09-2023 11:00:00	49.9969825744629	0	0	0	0	410.565948486328	419.607513427734	414.259979248047	414.811157226563	235.109329223633	241.594223022461	241.871154785156	-1	0	0	0	0	0	0	0	0	5776873472	207060656	78991	53773376	5788341248
0	720	09-09-2023 11:15:00	50.1943244934082	0	0	0	0	409.867095947266	419.298858642578	413.219268798828	414.12841796875	234.820114135742	241.34049987793	241.236312866211	-1	0	0	0	0	0	0	0	0	5776873472	207060656	78991	53773376	5788341248
0	720	09-09-2023 11:30:00	50.0500144958496	0	0	0	0	410.431549072266	417.34619140625	412.610046386719	413.462585449219	235.148529052734	240.935943603516	240.166152954102	-1	0	0	0	0	0	0	0	0	5776873472	207060656	78991	53773376	5788341248
0	720	09-09-2023 11:45:00	50.1367263793945	0	0	0	0	409.453582763672	418.821380615234	414.276000976563	414.183654785156	235.311187744141	240.512313842773	241.668563842773	-1	0	0	0	0	0	0	0	0	5776873472	207060656	78991	53773376	5788341248
0	720	09-09-2023 12:00:00	50.0410041809082	0	0	0	0	408.877044677734	419.143524169922	414.149505615234	414.056701660156	235.109390258789	240.588714599609	241.580902099609	-1	0	0	0	0	0	0	0	0	5776873472	207060656	78991	53773376	5788341248
0	720	09-09-2023 12:15:00	49.8509216308594	0	0	0	0	410.041168212891	418.8486328125	412.340637207031	413.743469238281	234.871124267578	241.707641601563	240.148971557617	-1	0	0	0	0	0	0	0	0	5776873472	207060656	78991	53773376	5788341248
0	720	09-09-2023 12:30:00	49.7949943542481	0	0	0	0	412.123077392578	415.545562744141	412.157135009766	413.275268554688	236.101699829102	240.415496826172	239.39533996582	-1	0	0	0	0	0	0	0	0	5776873472	207060656	78991	53773376	5788341248
0	720	09-09-2023 12:45:00	50.1709899902344	0	0	0	0	412.620910644531	419.876708984375	410.396118164063	414.297912597656	234.866348266602	242.897888183594	239.913360595703	-1	0	0	0	0	0	0	0	0	5776873472	207060672	78991	53773376	5788341248
0	720	09-09-2023 13:00:00	50.0311851501465	0	0	0	0	408.214965820313	417.517761230469	415.278045654297	413.670257568359	235.638626098633	239.367553710938	241.621292114258	-1	0	0	0	0	0	0	0	0	5776873472	207060672	78991	53773376	5788341248
0	720	09-09-2023 13:15:00	50.0045318603516	0	0	0	0	410.027709960938	418.651947021484	413.63232421875	414.103973388672	235.404708862305	241.117324829102	240.837997436523	-1	0	0	0	0	0	0	0	0	5776873472	207060672	78991	53773376	5788341248
0	720	09-09-2023 13:30:00	50.0838088989258	0	0	0	0	410.845764160156	417.198577880859	412.734436035156	413.592926025391	235.978240966797	240.558975219727	239.944534301758	-1	0	0	0	0	0	0	0	0	5776873472	207060672	78991	53773376	5788341248
0	720	09-09-2023 13:45:00	50.0737533569336	0	0	0	0	409.766021728516	420.457153320313	411.344573974609	413.855926513672	234.296676635742	242.216522216797	240.390686035156	-1	0	0	0	0	0	0	0	0	5776873472	207060672	78991	53773376	5788341248
0	720	09-09-2023 14:00:00	50.0557823181152	0	0	0	0	408.788818359375	418.028656005859	413.147827148438	413.32177734375	235.06217956543	240.241394042969	240.696655273438	-1	0	0	0	0	0	0	0	0	5776873472	207060672	78991	53773376	5788341248
0	720	09-09-2023 14:15:00	50.0198402404785	0	0	0	0	410.314208984375	418.012329101563	413.463989257813	413.93017578125	235.375350952148	240.890335083008	240.797103881836	-1	0	0	0	0	0	0	0	0	5776873472	207060672	78991	53773376	5788341248
0	720	09-09-2023 14:30:00	49.8813095092773	0	0	0	0	409.587280273438	417.638488769531	411.893859863281	413.039886474609	234.236434936523	241.088943481445	240.184127807617	-1	0	0	0	0	0	0	0	0	5776873472	207060672	78991	53773376	5788341248
0	720	09-09-2023 14:45:00	49.9449844360352	0	0	0	0	408.841094970703	418.235290527344	413.286529541016	413.454284667969	234.529342651367	240.916213989258	240.786895751953	-1	0	0	0	0	0	0	0	0	5776873472	207060672	78991	53773376	5788341248
0	720	09-09-2023 15:00:00	49.8832397460938	0	0	0	0	410.518890380859	415.726745605469	414.596832275391	413.614135742188	236.236770629883	239.659088134766	240.617965698242	-1	0	0	0	0	0	0	0	0	5776873472	207060672	78991	53773376	5788341248
0	720	09-09-2023 15:15:00	49.8251190185547	0	0	0	0	412.278228759766	415.192108154297	413.607818603516	413.692718505859	236.833251953125	239.666061401367	240.143753051758	-1	0	0	0	0	0	0	0	0	5776873472	207060672	78991	53773376	5788341248
0	720	09-09-2023 15:30:00	49.6526374816895	0	0	0	0	410.837677001953	415.984283447266	411.564178466797	412.795379638672	235.375045776367	240.783584594727	238.936080932617	-1	0	0	0	0	0	0	0	0	5776873472	207060672	78991	53773376	5788341248
0	720	09-09-2023 15:45:00	50.5125427246094	560.763244628906	539.806579589844	502.59619140625	0	413.928680419922	414.601837158203	413.919342041016	414.149963378906	238.620147705078	239.183517456055	239.531585693359	0.999955654144287	133591.3125	128607.1171875	120051.953125	382250.375	3977.16357421875	-7575.08544921875	0	-3597.92236328125	133809.421875	129112.8203125	120387.6640625	382267.3125	5776957952	207060688	78991	53774176	5788425728
0	720	09-09-2023 16:00:00	50.4175453186035	586.065795898438	546.504089355469	494.226593017578	0	413.676513671875	415.201385498047	414.972045898438	414.616638183594	238.750244140625	239.110275268555	240.281387329102	0.999963223934174	139628.484375	130302.1875	118386.03125	388316.6875	4295.29541015625	-4900.955078125	-2726.12548828125	-3331.78564453125	139923.34375	130674.7578125	118753.453125	388331	5777053696	207060688	78991	53775064	5788520960
0	720	09-09-2023 16:15:00	49.6366996765137	0	0	0	0	410.263427734375	416.817993164063	412.236633300781	413.106018066406	234.704177856445	240.493911743164	240.422592163086	-1	0	0	0	371736.234375	0	0	0	0	0	0	0	0	5777068032	207060704	78991	53775164	5788535808
0	720	09-09-2023 16:30:00	50.2730216979981	532.5556640625	492.200653076172	463.447479248047	0	412.803527832031	415.452362060547	414.136352539063	414.130737304688	238.092315673828	238.877288818359	240.35124206543	0.999876022338867	126615.3828125	117317.703125	111222.734375	355155.78125	1064.92260742188	-5729.3046875	-929.205871582031	-5593.587890625	126797.4140625	117575.5625	111390.171875	355199.875	5777104384	207060704	78991	53775800	5788572672
0	720	09-09-2023 16:45:00	50.2607955932617	525.068298339844	491.481719970703	468.513854980469	0	413.178955078125	415.790649414063	414.066925048828	414.345520019531	238.240844726563	239.031448364258	240.422958374023	0.999867856502533	124935.515625	117208.0546875	112463.9375	354607.5	1371.60925292969	-5644.0341796875	-1493.32531738281	-5765.75048828125	125092.7109375	117479.5859375	112641.484375	354654.375	5777192960	207060720	78991	53777596	5788661248
0	720	09-09-2023 17:00:00	50.1753387451172	534.813110351563	496.149963378906	471.728881835938	0	412.657653808594	415.464263916016	414.192596435547	414.104827880859	238.189315795898	238.669769287109	240.419494628906	0.999827563762665	127224.3046875	118177.0546875	113195.203125	358596.5625	89.8966293334961	-4754.5322265625	-1994.73400878906	-6659.3701171875	127386.7734375	118416	113412.8203125	358658.375	5777282048	207060720	78991	53779176	5788749824
0	720	09-09-2023 17:15:00	50.2070083618164	535.796875	499.209686279297	464.027679443359	0	412.392547607422	414.723907470703	414.198577880859	413.771697998047	238.148422241211	238.356292724609	240.201400756836	0.999869108200073	127410.8671875	118747.8203125	111275.5859375	357434.25	-456.285217285156	-4474.27392578125	-852.968811035156	-5783.5283203125	127599.1796875	118989.765625	111460.1015625	357481.0625	5777370624	207060720	78991	53780780	5788838400
0	720	09-09-2023 17:30:00	50.1518630981445	561.657958984375	478.519287109375	453.388610839844	0	410.725524902344	415.633514404297	414.666442871094	413.675170898438	237.297332763672	238.345016479492	240.894668579102	0.999856948852539	133104.234375	113830.6953125	108960.7265625	355895.65625	729.626525878906	-3920.09497070313	-2829.96704101563	-6020.43603515625	133279.9375	114052.6875	109218.8984375	355946.5625	5777459712	207060720	78991	53782388	5788927488
0	720	09-09-2023 17:45:00	50.2202911376953	540.481872558594	486.999664306641	461.565734863281	0	412.466552734375	415.850708007813	414.513275146484	414.27685546875	238.007461547852	238.914459228516	240.654724121094	0.999907791614533	128457.828125	116097.7265625	110926.6640625	355482.21875	1201.7998046875	-4906.30615234375	-1122.79113769531	-4827.2978515625	128638.71875	116351.2578125	111077.96875	355515	5777547776	207060720	78991	53783940	5789016064
0	720	09-09-2023 18:00:00	50.1886177062988	544.036376953125	478.729095458984	466.909362792969	0	412.145202636719	416.395446777344	413.746490478516	414.095733642578	237.45182800293	239.243988037109	240.564987182617	0.999977707862854	128926.1640625	114216.9140625	112165.328125	355308.375	4021.73706054688	-5503.74853515625	-890.547180175781	-2372.55834960938	129182.4375	114533.0625	112322.046875	355316.3125	5777636864	207060720	78991	53785544	5789105152
0	720	09-09-2023 18:15:00	50.1226539611816	569.880004882813	498.092590332031	499.155670166016	0	410.820526123047	415.827117919922	412.538543701172	413.062072753906	236.628723144531	238.80485534668	240.041473388672	0.995407700538635	129148.1953125	111799.7265625	113577.5	354525.40625	-6482.99609375	-16100.7275390625	-11510.037109375	-34093.76171875	134849.96875	118946.9296875	119818.0546875	356161	5777725952	207060752	78991	53787508	5789194240
0	720	09-09-2023 18:30:00	50.1761169433594	546.989318847656	497.532592773438	505.760467529297	0	416.457489013672	419.328063964844	415.644561767578	417.143371582031	239.665649414063	241.564178466797	241.315185546875	-0.99909895658493	125408.8984375	114583.2421875	116587.8125	356579.96875	8842.6181640625	-1246.28137207031	7550.8193359375	15147.15625	131094.546875	120186.0625	122047.6875	356901.53125	5777814528	207060800	78991	53789800	5789282304
0	720	09-09-2023 18:45:00	50.3147773742676	533.79345703125	487.909606933594	494.481903076172	0	412.905609130859	416.034729003906	413.30078125	414.080383300781	238.111862182617	239.247665405273	239.880874633789	0.996779918670654	121371.328125	110336.1328125	113078.1171875	344785.59375	-7391.76416015625	-12988.865234375	-7355.51806640625	-27736.1484375	127102.5546875	116731.2265625	118616.7421875	345899.375	5777903104	207060864	78991	53792180	5789371392
0	720	09-09-2023 19:00:00	50.2271690368652	561.482727050781	498.190795898438	499.460205078125	0	415.925750732422	419.576690673828	416.213439941406	417.238647460938	239.434219360352	241.482559204102	241.793365478516	-0.999372601509094	128831.53125	114670.203125	115211.0703125	358712.84375	8709.1728515625	-1777.12475585938	5780.2421875	12712.291015625	134438.1875	120304.3828125	120766.171875	358938	5777992192	207060896	78991	53794540	5789460480
0	720	09-09-2023 19:15:00	50.2390060424805	579.524291992188	500.357299804688	493.071472167969	0	414.491516113281	418.864074707031	416.454956054688	416.603515625	238.983032226563	240.762954711914	241.857421875	-0.999904453754425	132519.21875	114053.203125	112946.0703125	359518.5	4960.25439453125	-2795.09912109375	2803.9013671875	4969.056640625	138496.46875	120467.5	119252.9921875	359552.8125	5778080256	207060928	78991	53796884	5789549568
0	720	09-09-2023 19:30:00	50.2912673950195	563.164916992188	493.035949707031	486.508117675781	0	416.166809082031	419.965087890625	417.651702880859	417.927886962891	240.002548217773	241.488464355469	242.409317016602	-0.998179435729981	129378.296875	113313.9296875	112012.2734375	354704.5	10052.1328125	2972.0205078125	8408.443359375	21432.595703125	135161.015625	119062.484375	117934.1015625	355351.40625	5778169344	207060944	78991	53799144	5789638656
0	720	09-09-2023 19:45:00	50.3106536865234	535.530029296875	488.261749267578	505.621154785156	0	416.928863525391	419.848724365234	416.056488037109	417.611358642578	240.131576538086	241.701354980469	241.522842407227	-0.999214887619019	123151.3125	112707.3046875	117008.25	352866.84375	7607.9033203125	-163.632751464844	6546.3251953125	13990.595703125	128597.671875	118013.5234375	122119.0546875	353144.09375	5778257920	207060944	78991	53801436	5789727232
0	720	09-09-2023 20:00:00	50.3143501281738	553.40478515625	496.764526367188	505.50341796875	0	413.048583984375	416.549041748047	413.74658203125	414.448059082031	238.223480224609	239.498336791992	240.156509399414	0.994670391082764	126546.8203125	112975.6015625	116311.046875	355833.5	-10910.642578125	-15831.8935546875	-10142.4716796875	-36885.0078125	131834.03125	118974.28125	121399.9375	357740.09375	5778346496	207060944	78991	53803764	5789815808
0	720	09-09-2023 20:15:00	50.2697563171387	523.486083984375	507.906280517578	501.311065673828	0	417.971008300781	418.693969726563	416.639556884766	417.768188476563	240.992706298828	241.385955810547	241.249801635742	-0.998516261577606	121127.59375	117889.1484375	115978.1484375	354994.875	7005.662109375	2014.52758789063	10339.1923828125	19359.380859375	126156.328125	122601.4453125	120941.203125	355522.375	5778435584	207060960	78991	53806056	5789904896
0	720	09-09-2023 20:30:00	50.3189010620117	538.91162109375	514.69677734375	505.874389648438	0	414.03466796875	415.667785644531	413.159454345703	414.287292480469	238.442031860352	239.523635864258	239.630157470703	0.996701955795288	123762.828125	117925.3515625	116810.296875	358498.46875	-7530.80615234375	-15522.4267578125	-6134.7607421875	-29187.9921875	128499.1875	123282.0546875	121222.7734375	359684.71875	5778524160	207060960	78991	53808328	5789993472
0	720	09-09-2023 20:45:00	50.2467765808106	570.856201171875	475.222961425781	500.025451660156	0	414.630035400391	420.01025390625	415.959503173828	416.866607666016	238.921585083008	241.386077880859	241.759780883789	-0.99972403049469	130846.921875	108642.765625	115336.625	354826.28125	6451.5380859375	-1962.77160644531	3849.30249023438	8338.0693359375	136389.859375	114712.2109375	120886.0546875	354924.28125	5778613248	207060960	78991	53810564	5790082560
0	720	09-09-2023 21:00:00	50.2503356933594	552.100341796875	507.916412353516	501.481140136719	0	414.269653320313	416.561767578125	413.996734619141	414.942718505859	238.583694458008	240.079055786133	240.066528320313	0.998404383659363	126380.453125	115883.703125	115173.5703125	357437.75	-4770.24755859375	-12992.4833984375	-2453.56469726563	-20216.294921875	131722.140625	121940.0859375	120388.8359375	358008.96875	5778701312	207060960	78991	53812752	5790171648
0	720	09-09-2023 21:15:00	50.2776565551758	566.046569824219	517.194274902344	510.929016113281	0	415.117126464844	417.801330566406	415.835968017578	416.25146484375	239.546310424805	240.36181640625	241.094390869141	0.999897122383118	129642.0625	118121.8046875	117315.5234375	365079.375	-1031.24572753906	-5180.16259765625	974.547058105469	-5236.861328125	135594.359375	124313.7578125	123182.125	365116.9375	5778789888	207060960	78991	53814948	5790260224
0	720	09-09-2023 21:30:00	50.3583374023438	551.259521484375	485.7333984375	496.680786132813	0	413.995849609375	418.108856201172	414.840637207031	415.6484375	238.618957519531	240.350402832031	240.983688354492	0.999668002128601	126806.4765625	111476.8515625	114976.6328125	353259.9375	142.65217590332	-7445.4453125	-1801.80541992188	-9104.5986328125	131540.984375	116746.2265625	119691.96875	353377.25	5778878976	207060960	78991	53817220	5790348800
0	720	09-09-2023 21:45:00	50.3937873840332	542.928100585938	502.519744873047	496.814483642578	0	414.431121826172	416.833129882813	414.801422119141	415.355224609375	239.059783935547	239.874908447266	240.512771606445	0.999307215213776	124879.8984375	115305.390625	114755.9453125	354941.21875	-3178.349609375	-8380.87109375	-1659.1005859375	-13218.3212890625	129792.28125	120541.8828125	119490.2421875	355187.28125	5778967552	207060992	78991	53819508	5790437376
0	720	09-09-2023 22:00:00	50.3102760314941	530.680541992188	491.077270507813	496.007598876953	0	415.093841552734	417.422943115234	415.318084716797	415.944946289063	239.669006347656	240.111663818359	240.689849853516	0.99996143579483	123130.2109375	113730.8125	115510.5625	352371.59375	-1026.55053710938	-3494.73999023438	1429.28039550781	-3092.01000976563	127187.6875	117913.375	119383.984375	352385.125	5779056640	207060992	78991	53821740	5790526464
0	720	09-09-2023 22:15:00	49.6818046569824	0	0	0	0	413.876586914063	417.623199462891	412.613922119141	414.704559326172	237.606552124023	241.487350463867	239.309143066406	-1	0	0	0	0	0	0	0	0	5779137536	207060992	78991	53823764	5790607872
0	720	09-09-2023 22:30:00	49.7604522705078	0	0	0	0	414.754180908203	418.547180175781	413.897583007813	415.732971191406	238.138946533203	242.042221069336	239.993438720703	-1	0	0	0	0	0	0	0	0	5779137536	207060992	78991	53823764	5790607872
0	720	09-09-2023 22:45:00	49.7781295776367	0	0	0	0	414.906219482422	418.173217773438	413.810882568359	415.630096435547	238.183471679688	241.809860229492	239.993759155273	-1	0	0	0	0	0	0	0	0	5779137536	207060992	78991	53823764	5790607872
0	720	09-09-2023 23:00:00	49.6953277587891	0	0	0	0	414.751098632813	417.017639160156	412.560424804688	414.776397705078	238.390121459961	240.944549560547	239.173950195313	-1	0	0	0	0	0	0	0	0	5779137536	207060992	78991	53823764	5790607872
0	720	09-09-2023 23:15:00	49.6562385559082	0	0	0	0	413.951110839844	416.001739501953	412.292694091797	414.081848144531	237.948654174805	240.725173950195	238.63151550293	-1	0	0	0	0	0	0	0	0	5779137536	207060992	78991	53823764	5790607872
0	720	09-09-2023 23:30:00	49.6587905883789	0	0	0	0	413.553497314453	416.430755615234	412.124206542969	414.0361328125	238.070587158203	240.52067565918	238.635223388672	-1	0	0	0	0	0	0	0	0	5779137536	207060992	78991	53823764	5790607872
0	720	09-09-2023 23:45:00	49.6497764587402	0	0	0	0	411.985992431641	417.438354492188	412.533966064453	413.986114501953	236.728988647461	240.891754150391	239.513244628906	-1	0	0	0	0	0	0	0	0	5779137536	207060992	78991	53823764	5790607872
																				0	0	0	0	0	0	0	0	5779137536	207060992	78991	53823764	5790607872
																				-79.0192260742188	-5706.228515625	0	-5785.248046875	123392.5	115529.1796875	117838.6484375	356332.34375	5779198464	207060992	78991	53824816	5790668288
																				881.418273925781	-6825.85791015625	61.1048889160156	-5883.3349609375	122713	115594.2734375	117089.390625	354905.90625	5779287040	207060992	78991	53826344	5790757376
																				607.123046875	-6074.623046875	518.056640625	-4949.443359375	124782.390625	116767.6328125	114315.6171875	355216.71875	5779376128	207060992	78991	53827844	5790845952
																				1378.34741210938	-6735.27587890625	-798.806457519531	-6155.734375	124771.796875	115399.8046875	114716.3359375	354435.21875	5779465216	207060992	78991	53829336	5790935040

## Sheet2
00:00:00	60
00:15:00	40
00:30:00	40
00:45:00	40
01:00:00	20
01:15:00	20
01:30:00	20
01:45:00	20
02:00:00	20
02:15:00	20
02:30:00	20
02:45:00	20
03:00:00	20
03:15:00	20
03:30:00	20
03:45:00	20
04:00:00	20
04:15:00	20
04:30:00	20
04:45:00	20
05:00:00	20
05:15:00	20
05:30:00	20
05:45:00	20
06:00:00	20
06:15:00	20
06:30:00	20
06:45:00	20
07:00:00	80
07:15:00	20
07:30:00	20
07:45:00	20
08:00:00	20
08:15:00	20
08:30:00	20
08:45:00	20
09:00:00	20
09:15:00	20
09:30:00	20
09:45:00	20
10:00:00	20
10:15:00	20
10:30:00	20
10:45:00	20
11:00:00	20
11:15:00	20
11:30:00	20
11:45:00	20
12:00:00	20
12:15:00	20
12:30:00	20
12:45:00	20
13:00:00	20
13:15:00	20
13:30:00	20
13:45:00	20
14:00:00	20
14:15:00	20
14:30:00	20
14:45:00	20
15:00:00	20
15:15:00	20
15:30:00	20
15:45:00	20
16:00:00	20
16:15:00	20
16:30:00	20
16:45:00	20
17:00:00	20
17:15:00	20
17:30:00	20
17:45:00	20
18:00:00	20
18:15:00	20
18:30:00	20
18:45:00	20
19:00:00	20
19:15:00	20
19:30:00	20
19:45:00	20
20:00:00	20
20:15:00	20
20:30:00	20
20:45:00	20
21:00:00	20
21:15:00	20
21:30:00	20
21:45:00	20
22:00:00	20
22:15:00	20
22:30:00	20
22:45:00	20
23:00:00	20
23:15:00	20
23:30:00	20
23:45:00	20